5. THE STRAIN TESTING GREENHOUSE WITH THE AREA OF 230 M2 FOR VEGETABLE CULTURES WITH PLANTS’ CULTIVATION BY THE METHOD OF MULTISTOREYED NARROWSHELVING HYDROPONICS

The plan on mark 0.000

Section A-A

The assignment of the object

For the all-the-year-round carrying out of selection process on manufacture of the seeds of the vegetable culture.

The basic characteristics

The selection hangar greenhouse T-100А of the all-the-year-round use by the area of 230 m2.

The sizes of the greenhouse in the plan - 36 х 6,4 m.

The span                                                                2,1 m

Step of bearing racks of the skeleton                    1,5 m

In the greenhouse are stipulated: the seedlings’ section with the area of 12,8 m2, seedling section with the area of 25,8 m2, three vegetable sections with the area of 57,6 m2 for every section and room of the solution unit with the area of 19,2 m2.

Technology

In the greenhouse is applied  the one of the most progressive technologies - intensive energy-saving, non-polluting technology of cultivation of seeds, vegetable cultures by the method of multistoreyed narrowshelving hydroponics.

The cultivation of vegetable cultures is stipulated in three stages: seedlings, sprouts and adult culture.

The cultivation of seedlings is provided on peat in the plastic cartridges installed in technological trays on multistoreyed narrowshelving hydroponic installations (MNHI) in 5 storeys.

The adult culture of plants is raised on technological trays in 5 storeys. On 1 area meter of the technological tray we can land 5 plants.

The skeleton of the greenhouse

The skeleton of the greenhouse is made from steel zinced structures of factory manufacturing is combined with the engineering-technological equipment. The roof of the greenhouse is completely opening. The area of opening varies from 0 up to 100 % from the surface of the roof.

On inclined racks are placed the technological trays (5 storeys) for seedlings, sprouts, herbs and vegetables cultivation. The protection of the greenhouse: 1-st variant - one layer of glass in the covering, two layers in the vertical protection; 2-nd variant - two-layer polycarbonatic panels.

The engineering systems

The hydroponic feeding of plants is carried out with the help of automated solution units.

Heating – the system of planimetric, roofing, floor, underoof heating.

The system of addition lighting – the irradiative installations IRIH15-400-ДНаТ and IRIH40-150-ДНаТ.

Electro supply, water supply - from external source. Water removal - in external networks of the water drain.

Heat supply - from own boiler-house or from external source.

The mechanization of productions and automation of maintenance of the microclimate and feeding of plants is stipulated.

Technical and economic parameters

Productivity of object – 326,3 kg seeds of vegetable cultures in year, including tomatoes – 33,8 kg, seeds of cucumber – 225 kg, seeds of pepper – 67,5 kg.

The time of recoupment of the capital investments on construction of the greenhouse is 1,5 years.

The decrease in the charge of water and nutritious solution on the unit of production in 2,0-2,5 times in comparison with the less-volume substrate technology of drop watering.

The reduction of soil quantity in 4-6 times in comparison with less-volume substrate technology of drop watering.

The charge of heat and the electric power on unit of production – 10 Mcal (in 4,5-5,0 times lower, than in greenhouses with the less-volume substrate technology of drop watering).

The maintenance of sprouts’ output with 1м2 up to 100 pieces.

The high level of automation and mechanization of technological process, reduction of park of the necessary machines and mechanisms on 60-70 % higher then in typical technology on soil.